Auto Test Tool – User Manual

1. Overview

This tool is designed to automatically start the UroBiopsy application, log in with a predefined account, perform initialization cycles, and optionally shut down the computer after completion.

The tool is packaged as a standalone program and does not require Python to be installed on the target machine.

2. File Location and Contents

The program files are located in the following directory:

D:\auto_test\

Inside this folder, you will find:

- auto_test.exe
The main executable program.
Double-click this file to run the automation.

- config.ini
The configuration file used to control how the program runs.

⚠️ Important:
Both files must remain in the same folder.
Do not rename or move either file.

3. Editing the Configuration File (config.ini)

To change program settings:

- Open the folder D:\auto_test

- Double-click config.ini
(It will open in Notepad or a similar text editor)

Inside the file, you can modify the following settings:

3.1 Login Information

- Username
The account used to log in to UroBiopsy

- Password
The password for the above account

Example:

username = service

password = Biobot123@

3.2 Application Path

- Application Path
The full installation path of the UroBiopsy program

Example:

path = C:\Program Files\Biobot\UroBiopsy\UroBiopsy.exe

⚠️ Make sure the path is correct.
If the path is wrong, the program will not start.

3.3 Test Settings

- Loop Count
Number of initialization cycles to run

Example:

loop_count = 10

3.4 Automatic Shutdown Settings

- Enable Automatic Shutdown
Choose whether the computer should shut down after the test completes

- Shutdown Delay
Time (in seconds) to wait before shutting down

Example:

auto_shutdown = true

shutdown_delay = 60

After editing the file:

- Click File → Save

- Close the editor

4. Running the Program Manually

To start the automation manually:

- Open D:\auto_test

- Double-click auto_test.exe

- The program will:

  - Start UroBiopsy

  - Log in automatically

  - Run the configured number of initialization cycles

  - Exit the application

  - (Optional) Shut down the computer

5. Enable Automatic Start on Computer Boot

If you want the program to start automatically when Windows starts, follow these steps carefully.

5.1 Open the Startup Folder

- Press Win + R

- Type:

shell:startup

- Press Enter

A folder will open. This is the Windows startup folder.

5.2 Create a Shortcut

- Go to D:\auto_test

- Right-click auto_test.exe

- Select Create shortcut

A shortcut file will appear.

5.3 Add the Shortcut to Startup

- Drag the newly created shortcut

- Drop it into the Startup folder opened earlier

✅ The program will now start automatically every time Windows boots.

6. Stopping the Program or Canceling Automatic Shutdown

If the program has already started and you want to stop it:

6.1 Open Task Manager

- Press Ctrl + Shift + Esc

- Click Task Manager

6.2 End the Program

- Look for auto_test.exe in the process list

- Select it

- Click End Task

This will:

- Stop the automation immediately

- Cancel any pending automatic shutdown

7. Disabling Automatic Start (Optional)

To stop the program from running at startup:

- Press Win + R

- Type:

shell:startup

- Press Enter

- Delete the auto_test.exe shortcut from the folder

8. Important Notes

- Do not delete or move files while the program is running

- Always check config.ini before starting the program

- If the system is configured to auto-start the program, changes to config.ini will take effect on the next boot